## Risk Assessment Cards
Assessment Type | ACTIVITY
Assessment Title | Workplace Maintenance
Assessed By
Date of Assessment
Card | Hazard | Description of hazard | Who could be harmed | What harm could occur | Existing controls | Current likelihood | Current severity | Current risk | Current risk level | Additional controls / actions | Responsible role | Target date | Residual likelihood | Residual severity | Residual risk | Residual risk level
1 | Maintenance Activities and Risk Assessment | WHAT IS THE HAZARD? Maintenance Activities and Risk Assessment Describe what could cause harm Employees may be exposed to a range of hazards when carrying out maintenance, including moving machinery, electrical systems, hazardous substances, tools and work at height. Poor planning or inadequate controls may result in injury | Employees Maintenance personnel Contractors Agency workers Others working near the activity | Cuts and crush injuries Electric shock Burns Falls from height Exposure to hazardous substances Musculoskeletal injuries Serious injury or fatality | Maintenance activities are identified and assessed Planned and reactive maintenance is managed appropriately Equipment is isolated before work where necessary Suitable tools and equipment are provided Employees are appropriately trained and competent Manufacturer instructions and safe systems of work are followed Suitable PPE is provided Defective equipment is reported and controlled Higher-risk activities are subject to additional risk assessment Maintenance areas are kept controlled and reasonably clear | 3 | 5 | 15 | HIGH | Review maintenance activities and associated risks regularly Identify opportunities to eliminate or reduce maintenance-related risks Ensure higher-risk tasks have appropriate safe systems of work Review training and competency requirements Review incidents and near misses to identify improvements Update risk assessments following significant changes or incidents | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
2 | Planned and Preventive Maintenance | WHAT IS THE HAZARD? Planned and Preventive Maintenance Describe what could cause harm Equipment and workplace systems may become unsafe if maintenance is only carried out after a failure occurs. Inadequate planned or preventive maintenance may allow defects, deterioration or unsafe conditions to develop | Employees Maintenance personnel Contractors Visitors Members of the public | Equipment failure Cuts and crush injuries Electric shock Fire Falls Serious injury or fatality | Maintenance requirements are identified for workplace equipment and systems Preventive maintenance is scheduled where appropriate Manufacturer recommendations are considered Safety-critical equipment receives appropriate attention Defects are reported and addressed Maintenance records are retained where appropriate Employees are instructed to report signs of deterioration or failure Maintenance is carried out by suitably competent people Equipment is not used where a known defect creates an unacceptable risk | 3 | 4 | 12 | HIGH | Establish and maintain a suitable maintenance schedule Identify safety-critical equipment and prioritise its maintenance Review overdue maintenance tasks Review maintenance records for recurring defects Update maintenance arrangements when equipment or working conditions change Review incidents and near misses to identify maintenance improvements | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 4 | 8 | MEDIUM
3 | Defective Equipment and Repairs | WHAT IS THE HAZARD? Defective Equipment and Repairs Describe what could cause harm Employees may be exposed to injury when using equipment that is damaged, defective or awaiting repair. Attempting to use or repair defective equipment without suitable controls may increase the risk of injury or equipment failure | Employees Maintenance personnel Contractors Agency workers Others working nearby | Cuts and crush injuries Electric shock Burns Equipment failure Serious injury or fatality | Equipment is inspected and maintained appropriately Defects are reported promptly Defective equipment is removed from use where necessary Equipment awaiting repair is clearly identified Repairs are carried out by suitably competent persons Manufacturer instructions are followed Suitable replacement equipment is provided where required Employees are instructed not to use equipment with known safety-critical defects Repairs are checked before equipment is returned to service | 3 | 5 | 15 | HIGH | Establish a clear process for reporting and controlling defective equipment Ensure repairs are prioritised according to risk Maintain suitable repair and inspection records Investigate recurring equipment defects Verify equipment is safe before returning it to service Review incidents and near misses involving equipment failure | Department Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
4 | Isolation and Lock-Off | WHAT IS THE HAZARD? Isolation and Lock-Off Describe what could cause harm Employees may be exposed to unexpected start-up, movement or release of stored energy while maintaining or repairing equipment. Failure to isolate and lock off equipment before work begins may result in serious injury | Employees Maintenance personnel Contractors Agency workers Others working nearby | Crushing or trapping injuries Electric shock Burns Cuts and amputations Serious or fatal injury | Equipment is isolated from relevant energy sources before maintenance Lock-off procedures are used where required Isolation points are identified and accessible Stored energy is released or controlled before work begins Equipment is tested to confirm isolation before work starts Only authorised and competent employees carry out isolation and lock-off Warning notices or tags are used where appropriate Equipment is not returned to service until maintenance is complete and people are clear Manufacturer instructions and safe systems of work are followed | 3 | 5 | 15 | HIGH | Establish written isolation and lock-off procedures for relevant equipment Identify all potential energy sources before maintenance Provide suitable locks, tags and isolation equipment Ensure employees receive appropriate training and instruction Periodically check that isolation procedures are being followed Review incidents and near misses involving unexpected equipment movement or energisation | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
5 | Electrical Maintenance | WHAT IS THE HAZARD? Electrical Maintenance Describe what could cause harm Employees carrying out electrical maintenance may be exposed to live electrical systems, damaged components or unexpected energisation. Inadequate isolation or unsuitable working practices may result in electric shock, burns or fire | Employees Maintenance personnel Contractors Agency workers Others working nearby | Electric shock Electrical burns Arc flash injuries Fire Serious injury or fatality | Electrical maintenance is carried out by suitably competent persons Equipment is isolated before work where required Suitable lock-off procedures are followed Electrical systems are tested appropriately Damaged cables, plugs and components are reported and controlled Suitable insulated tools and equipment are used where necessary Live working is avoided unless there is a specific justification and suitable controls Manufacturer and safe working procedures are followed Electrical equipment is maintained and inspected appropriately | 2 | 5 | 10 | HIGH | Confirm competency requirements for electrical maintenance activities Review electrical isolation and lock-off arrangements Ensure suitable test equipment is available and maintained Establish clear procedures for any justified live electrical work Review electrical maintenance records and recurring defects Investigate electrical incidents and near misses | Manager / Supervisor | ASSESSOR TO COMPLETE | 1 | 5 | 5 | MEDIUM
6 | Work at Height During Maintenance | WHAT IS THE HAZARD? Work at Height During Maintenance Describe what could cause harm Employees may need to work at height when inspecting, repairing or maintaining buildings, equipment or workplace systems. Falls from ladders, platforms, roofs or other elevated areas may result in serious injury | Employees Maintenance personnel Contractors Agency workers Others working below | Falls from height Fractures Head injuries Serious injury or fatality Injuries to people below from falling objects | Work at height is avoided where reasonably practicable Suitable access equipment is selected for the task Ladders and access equipment are inspected and maintained Work at height is carried out by competent employees Suitable edge protection or fall prevention measures are used where required Tools and materials are secured to prevent falling objects Areas below work at height are controlled where necessary Weather and environmental conditions are considered for external work The Work at Height Regulations 2005 are followed | 3 | 5 | 15 | HIGH | Review whether work at height can be eliminated Ensure suitable access equipment is available Complete specific risk assessments for higher-risk work Establish appropriate rescue arrangements where required Provide additional training and supervision where necessary Review incidents and near misses involving work at height | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
7 | Tools and Maintenance Equipment | WHAT IS THE HAZARD? Tools and Maintenance Equipment Describe what could cause harm Employees may use hand tools, portable power tools, lifting equipment or other equipment during maintenance activities. Unsuitable, damaged or incorrectly used equipment may result in injury | Employees Maintenance personnel Contractors Agency workers Others working nearby | Cuts and lacerations Crush injuries Eye injuries Electric shock Strains and sprains Serious injury | Tools and equipment are suitable for the task Equipment is inspected before use Defective tools are removed from use Portable electrical equipment is maintained appropriately Employees use tools in accordance with manufacturer instructions Only competent employees use specialist equipment Suitable lifting and handling equipment is provided where required Tools are stored safely when not in use Appropriate PPE is provided Maintenance equipment is maintained and inspected as required | 3 | 4 | 12 | HIGH | Review the suitability of tools and equipment for maintenance tasks Establish appropriate inspection and maintenance arrangements Replace damaged or unsuitable equipment Provide additional training where required Ensure specialist equipment is used only by competent employees Review incidents and near misses involving tools or maintenance equipment | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 4 | 8 | MEDIUM
8 | Hazardous Substances and COSHH | WHAT IS THE HAZARD? Hazardous Substances and COSHH Describe what could cause harm Maintenance activities may involve exposure to oils, fuels, solvents, cleaning products, paints, adhesives or other hazardous substances. Poor handling, storage or control of these substances may cause injury or ill health | Employees Maintenance personnel Contractors Agency workers Others working nearby | Skin or eye irritation Burns Respiratory irritation Occupational ill health Fire or environmental contamination | Hazardous substances are identified and assessed under COSHH where applicable Less hazardous substances are used where reasonably practicable Suitable storage arrangements are provided Safety data and product information are available Suitable PPE is provided Adequate ventilation or extraction is provided where necessary Employees receive appropriate information, instruction and training Spillages are dealt with promptly using suitable procedures Containers are clearly labelled and kept closed when not in use COSHH assessments are reviewed when substances or working methods change | 3 | 4 | 12 | HIGH | Review COSHH assessments for maintenance activities Identify opportunities to substitute hazardous substances Ensure suitable control measures and PPE remain effective Provide appropriate spill control arrangements Consider health surveillance where required Review exposure following changes to substances or maintenance processes | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 4 | 8 | MEDIUM
9 | Hot Work and Fire Risk | WHAT IS THE HAZARD? Hot Work and Fire Risk Describe what could cause harm Maintenance activities such as welding, cutting, soldering, grinding or the use of heat may create sparks, flames or hot surfaces. These may ignite combustible materials or cause burns and fire | Employees Maintenance personnel Contractors Agency workers Others working nearby | Burns Smoke inhalation Fire Explosion Serious injury or fatality | Hot work is avoided where reasonably practicable A suitable permit-to-work system is used where required Combustible materials are removed or protected Suitable fire extinguishers are available Gas cylinders are stored and handled safely Suitable PPE is provided Hot work areas are adequately ventilated Employees carrying out hot work are competent and appropriately trained Fire watch arrangements are used where necessary Equipment is checked before use | 3 | 5 | 15 | HIGH | Review hot work activities and identify opportunities to eliminate them Establish suitable permit-to-work arrangements Ensure appropriate fire precautions are in place Review storage and handling arrangements for flammable materials and gases Provide additional training where required Review incidents, near misses and fire events to identify improvements | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
10 | Contractors and Specialist Maintenance | WHAT IS THE HAZARD? Contractors and Specialist Maintenance Describe what could cause harm Maintenance may be carried out by contractors or specialist workers who are unfamiliar with the workplace, its hazards or existing control measures. Poor coordination or communication may increase the risk of injury | Employees Contractors Maintenance personnel Agency workers Visitors Members of the public | Falls Electric shock Burns Crushing or trapping injuries Exposure to hazardous substances Serious injury or fatality | Contractors are selected based on appropriate competence and experience Contractors receive relevant site information and instructions Higher-risk work is subject to appropriate risk assessment and method statements Permit-to-work systems are used where required Work areas are controlled and access restricted where necessary Isolation arrangements are communicated and coordinated Contractors are supervised where appropriate Emergency arrangements are communicated Contractor activities are monitored Contractors report defects, incidents and near misses | 3 | 5 | 15 | HIGH | Establish suitable contractor selection and approval arrangements Verify competency for specialist maintenance activities Review risk assessments and method statements before higher-risk work begins Ensure responsibilities for isolation and control are clearly defined Monitor contractor performance Review incidents and near misses involving contractors | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
11 | Housekeeping and Temporary Hazards | WHAT IS THE HAZARD? Housekeeping and Temporary Hazards Describe what could cause harm Maintenance activities can create temporary hazards such as trailing cables, tools, open panels, spills, removed guards or materials left in walkways. Poor housekeeping or inadequate control of the work area may result in injury | Employees Maintenance personnel Contractors Agency workers Visitors Members of the public | Slips, trips and falls Cuts and bruising Electric shock Contact with exposed machinery Injuries from falling objects Serious injury | Maintenance areas are kept tidy and controlled Tools and materials are stored safely when not in use Cables and hoses are managed to minimise trip hazards Spillages are dealt with promptly Open panels, excavations and other hazards are suitably protected Barriers and warning signs are used where necessary Removed guards and components are not left where they create additional hazards Work areas are checked before being returned to normal use Employees and contractors are instructed to maintain good housekeeping | 3 | 4 | 12 | HIGH | Review housekeeping arrangements during maintenance activities Establish suitable controls for temporary hazards Ensure work areas are inspected before being reopened Improve cable and material storage where necessary Reinforce housekeeping expectations with employees and contractors Review incidents and near misses involving temporary maintenance hazards | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 4 | 8 | MEDIUM
12 | Emergency Repairs and Breakdown Maintenance | WHAT IS THE HAZARD? Emergency Repairs and Breakdown Maintenance Describe what could cause harm Unexpected equipment failures may require urgent repairs, creating pressure to restore equipment quickly. Rushed or poorly planned work may result in inadequate isolation, unsuitable equipment or employees undertaking tasks beyond their competence | Employees Maintenance personnel Contractors Agency workers Others working nearby | Electric shock Burns Crushing or trapping injuries Cuts and lacerations Falls Serious injury or fatality | Emergency repairs are assessed before work begins where reasonably practicable Equipment is isolated before repairs Only competent employees undertake maintenance work Contractors or specialists are used where required Suitable tools and PPE are provided Temporary repairs are controlled and followed by permanent repairs where necessary Affected equipment is taken out of service where it cannot be safely repaired immediately Emergency arrangements are communicated to relevant employees Repairs are checked before equipment is returned to service | 3 | 5 | 15 | HIGH | Establish clear procedures for emergency and breakdown maintenance Ensure employees are not pressured to bypass safety controls Identify equipment requiring contingency arrangements Maintain access to competent maintenance support Review recurring breakdowns and consider planned maintenance improvements Investigate incidents and near misses arising from emergency repairs | Manager / Supervisor | ASSESSOR TO COMPLETE | 2 | 5 | 10 | MEDIUM
13 | Training, Competence and Review | WHAT IS THE HAZARD? Training, Competence and Review Describe what could cause harm Employees may be exposed to increased risk if they lack the knowledge, skills or experience required to carry out maintenance safely. Inadequate supervision or failure to review maintenance arrangements may allow unsafe practices to continue | Employees Maintenance personnel Contractors Agency workers Others working nearby | Electric shock Burns Cuts and crush injuries Falls Exposure to hazardous substances Serious injury or fatality | Employees are appropriately trained and competent for their maintenance duties Specialist work is carried out by suitably qualified or competent persons New or inexperienced employees receive appropriate supervision Safe systems of work are communicated Employees are instructed to report hazards, defects and unsafe practices Contractors are appropriately selected and managed Incidents and near misses are reported and investigated Maintenance arrangements are reviewed when equipment or working methods change Additional training or supervision is provided where required | 2 | 5 | 10 | MEDIUM | Review training and competency requirements regularly Provide refresher training where appropriate Review supervision arrangements for higher-risk maintenance Monitor compliance with safe working practices Review incidents and near misses to identify improvements Update the risk assessment following significant changes or incidents | Manager / Supervisor | ASSESSOR TO COMPLETE | 1 | 5 | 5 | MEDIUM

## Action Plan & Review
Outstanding action | Responsible person | Target date | Completed
Review this assessment
This risk assessment should be reviewed if there is reason to believe it is no longer valid or following significant change to the work, workplace, equipment, processes or people affected.
Assessment completed by |  | Approved/reviewed by (if applicable)
Name: |  | Name:
Position: |  | Position:
Signature: |  | Signature:
Date: |  | Date: